


CAMBRIDGE WATER, SEWER, AND STORMWATER COMMITTEE
AMUNDSON COMMUNITY CENTER
200 SPRING STREET - COMMUNITY ROOM
APRIL 15, 2025
6:30PM
 MINUTES      

1. Call to Order/Roll Call: Hollenbeck called the meeting to order at 6:30pm. Members present: Steve Struss, Brian Kreklau, Ted Kumbier, Larry Gunseor, and Paula Hollenbeck. Others present: President Breunig. Village Staff: Treasurer Lucy Peterson, Water Operator Derek Schroedl, and Utility Clerk Vicki Redford. 

2. Proof of Posting: Agendas were posted in the upper and lower levels of the Amundson Community Center, Badger Bank, Cambridge Post Office, and the Village Website.

3. Approval of consent agenda
a. Meeting Minutes from 03-18-2025  
Struss made a motion to accept the consent agenda. Hollenbeck seconded the motion. Motion carried.
 A few minor changes were made to the March minutes.
 
4. Approval of Bills:

Kumbier made a motion to accept the bills in the amount of $ 679,350.07 Gunseor seconded the motion. Motion carried on a 5-0 roll call vote.

There was discussion about some of the larger bills paid for loan payments.

5. Reports:
a. Utility Clerk: I have been working on requests for our audit and finishing the PSC report. I also do my daily, weekly, and monthly duties. The audit is coming to a close. I have included updates from MSA in the meeting packet. The Contractor has been addressing punchlist items to wrap up their obligations on the project. The backwash pump will be replaced on Wednesday April 16th. The final walk through for Well #3 with the DNR Funding Compliance Engineer will take place on April 23rd with MSA in attendance as well. The generator for Well #2 should be delivered sometime in October, and the Generator project completed in May of 2026. 

b. Staff Report: Schroedl told the Committee that the AMI meter reading system needs a static IP address from US Cellular before it can be online. There are over 600 MXU radios that will need to be replaced to have the ability to read them with the new AMI reading system. Schroedl said he is planning to flush hydrants in the next week or two. It is becoming very necessary to line some of the Village sewer lines. The Committee asked Schroedl to get some bids for the five hundred feet of sewer that need to be lined. He will bring the bids to the May W&S meeting. Mid-City should be at Well #3 on April 16th for review. There was discussion regarding chlorine analyzers.

c. COWC Report: Struss told the Committee that Aqua Aerobics pilot system is up and running. They have an issue with one of the decanters. They talked to the engineers while they were on site. The engineer is going to talk to the headquarters about a discount on the parts and get it repaired. COWC is working on water quality training with the clearing house. There was discussion about a constructive wetland that removes phosphorus. Struss said that the tests from the Dancing Goat have been good. It is possible that there have been issues coming from other parts of the Village.
6. Old Business: Discussion and Possible Action Regarding
a. Budget Project Pre-Work: Treasurer Peterson said she sent the last five years of actuals to Ehlers. Ehlers would like a list of Capital Improvements as well as Operating Expenditures.
1. Well #2 upgrade
2. Sewer Main Rehabilitation – Sewer repairs and lining.
3. Spring Water Alley Project 
4. Water Tower Painting (in 10 years)
5. MXU Radio Replacements (1 year)
6. Meter Replacements (3-5 years)
7. Water Department Vehicles (7-year trade in)
8. Sewer Jetter Vac
9. Garage/Shed at Well #3 
                                                          
7. New Business: Discussion and Possible Action Regarding
a. Water Tower Cleaning – Schroedl: Schroedl said he received three quotes. The least expensive was $7,500. There was discussion about ways that the companies do the cleaning. The Committee discussed that this could be a project for next year. The funds could be used for lining the sewer pipes. Water Tower cleaning will be revisited at a future meeting.
8. Public Comment: None

9. Questions, Referrals to Staff or Future Agenda Items:
1. Update on Well #2 Generator

10. Adjournment: Struss made a motion to adjourn the meeting. Kreklau seconded the motion. Hollenbeck adjourned the meeting at 7:22pm.





Vicki Redford - Utility Clerk




a) Persons needing special accommodations should call 608-423-3712 at least 24 hours prior to the meeting.
b) More specific information about agenda items may be obtained by calling 608- 423-3712.
c) Final Agendas are typically posted by 4 PM on the Friday preceding the regular meeting at the Amundson Community Center, Cambridge Post Office, Badger Bank and Village of Cambridge Web site at www.ci.cambridge.wi.us



