


CAMBRIDGE WATER, SEWER, AND STORMWATER COMMITTEE
AMUNDSON COMMUNITY CENTER
200 SPRING STREET - COMMUNITY ROOM
MAY 20, 2025
6:30PM
 MINUTES    APPROVED 6-17-25

1. Call to Order/Roll Call: Hollenbeck called the meeting to order at 6:33pm. Members present: Mat Hughson, Kris Breunig, and Paula Hollenbeck. Steve Struss arrived at 6:45pm. Member Absent: Ted Kumbier. Others present: Sandy Jankowski. Village Staff:
Treasurer Lucy Peterson, Water Operator Derek Schroedl, Utility Clerk Vicki Redford.

2. Proof of Posting: Agendas were posted in the upper and lower levels of the Amundson Community Center, Badger Bank, Cambridge Post Office, and the Village Website.

3. Approval of consent agenda: 
a. Meeting Minutes from 04-15-2025

 Breunig made a motion to accept the consent agenda. Hollenbeck seconded the motion. Motion carried.
 
4. Approval of Bills:

Breunig made a motion to accept the bills in the amount of $ 75,741.21. Hughson seconded the motion. Motion carried on a 3-0 roll call vote. 

5. Reports
a. Utility Clerk: I have been working on requests sent from the auditors to finalize the PSC report. I received an email from Larry Gunseor stating that he is stepping down from the Water & Sewer Committee. I also do my usual daily, weekly, and monthly duties. Chair Hollenbeck thanked Larry Gunseor for his service on the Water & Sewer Committee.
 
b. Staff Report: Schroedl told the Committee that the advanced metering infrastructure hardware portion is complete. We are waiting on the software portion. Schroedl is working with LW Allen on the chlorine analyzers. Considering placement options. There was discussion of the shavings found at well #2, as well as issues they are working on at well #3. Mid-City may need to change the depth of the water pump at well #3. Schroedl is still working on quotes for the sewer lining. Cambridge Foundation has offered funding for the siding of well #2.

   New Committee Member Mat Hughson gave a brief background of himself.
  
c. COWC Report: Steve Struss gave a brief explanation of COWC for Hughson. Struss told the Committee that they are still working on getting farmers to work with them on phosphorus trading program and reducing phosphorus. Aqua Aerobics is doing a pilot study. COWC is also investigating where the hits to their system could come from. Struss visited Centrifugal Industries to see how things are running there. Struss does not think the problems hitting the COWC system are from Centrifugal Industries. 
6. Old Business: Discussion and Possible Action Regarding
a. Update on Well #2 Generator: Schroedl told the Committee that the contract documents have been received from the Contractor and are currently being signed by the Village. Notice to Proceed will go into effect as soon as signed comments are received by the Village. The Contractor has initiated the order for the generator. MSA will be reviewing submittals for the generator and auxiliary equipment when received by the Contractor. Schroedl said the lead times have greatly improved. Van Ert believes they can complete the installation by the end of this year. This is well in advance of the proposed project schedule.

b. Update on Well #3: Schroedl said the replacement pump was installed at well #3 on April 16, 2025. The Village has retained five percent of the contract. Mid-City Corporation will be requesting final payment for approval at the June W&S meeting. The punch list has been completed, the walk through with the DNR Funding Compliance Management Engineer has been completed, and MSA is preparing closeout documents for the Village signature and approval. The Facilities are currently under the Contractor Warranty Period and the Warranty includes turf establishment. There was discussion about the alignment issues at well #3 and fixes.

c. Vineyard Retention Pond Maintenance Plan Update – Schroedl: Schroedl said since MSA reviewed the pond they have done mowing and burning. There are trees to remove on the southern pond. Also, more weed control will be needed. Hollenbeck asked when other items will be managed at the ponds. Schroedl said low staff has made this difficult. They will also have to rent equipment to do some of the maintenance. Hollenbeck stated that it is important that all the retention ponds in the Village are treated the same.

7. New Business: Discussion and Possible Action Regarding - None
8. Public Comment: Sandy Jankowski spoke to the Committee. She said cattails and thistles have not been addressed. Sandy feels these are the real problem in her opinion. Jankowski said she has been contacting the Village for three years to have these problems resolved. Sandy said the Village is not meeting DNR requirements. 

9. Questions, Referrals to Staff or Future Agenda Items:

1. Review petition on Vineyards Retention Ponds
2. Update on Budget
3. Water Tower Cleaning


10. Adjournment: Struss made a motion to adjourn the meeting. Breunig seconded the motion. Hollenbeck adjourned the meeting at 7:32pm.








Vicki Redford - Utility Clerk




a) Persons needing special accommodations should call 608-423-3712 at least 24 hours prior to the meeting.
b) More specific information about agenda items may be obtained by calling 608- 423-3712.
c) Final Agendas are typically posted by 4 PM on the Friday preceding the regular meeting at the Amundson Community Center, Cambridge Post Office, Badger Bank and Village of Cambridge Web site at www.ci.cambridge.wi.us



