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MINUTES


WATER & SEWER
TUESDAY – MAY 13, 2025 – 8:30 A.M. 
COUNCIL CHAMBERS, MUNICIPAL BUILDING

Members present:  Chair Thomas Gryzwa, Daniel Seymour, Fred Meintz, Robert Warren, and Gary Motkowski.

Others Attending:  Mayor Katie Berman, Deputy Clerk-Treasurer Kathy Kennedy, Public Works Director Matt Decur, and Kevin Wagner-Reukert & Mielke, Inc.

Chair Gryzwa called the meeting to order at 8:30 a.m.

Motion by Gryzwa and seconded by Warren to approve the agenda.  Motion carried 5/0.

Minutes:
Motion by Seymour and seconded by Motkowski to approve the minutes of April 8, 2025.  Motion carried 5/0.

Water & Sewer disbursements: 
The disbursements for Water & Sewer were reviewed.

Communications:

Discuss/Consider construction of sewer and water service laterals to 916 Frontage Road.
Discussed construction of sewer and water service laterals to 916 Frontage Road.  

Motion by Gryzwa and seconded by Warren to postpone any decision on construction of sewer and water service laterals to 916 Frontage Road until a later date when there is more information.  Motion carried 5/0.

Report by Ruekert-Mielke:
A.  Proposal for Engineering Services – Wastewater Treatment Plant Facility Plan.

Kevin Wagner-Reukert & Mielke, Inc. presented a proposal for completion of the Facility Plan Preparation as one of the Clean Water Fund Projects.  The Facility Plan Preparation is a requirement by the DNR in order to move forward with the rehabilitation of two of the primary clarifiers at the City’s Wastewater Treatment Plant.  The DNR has issued the 2026 Priority List, including City of Peshtigo projects.  The Facility Plan Preparation proposal was discussed and considered.  

Motion by Gryzwa and seconded by Seymour to approve Facility Plan Preparation Task Order No 2025-1 in the amount of $39,500.00 to be paid from Sewer Account 62-7360-0210.  Motion carried 5/0.



Utility Report by Public Works Director Matt Decur:
Public Works Director Matt Decur reported:

Wastewater Treatment Plant & Sewer Utility
· WWTP Operators began effluent chlorination May 1st and submitted the first sample 
May 5th.
· WWTP is working with L&S and Energenics on main lift station and aeration systems.
· Operator in Charge, Rich Sparks, is back full time on limited duty.
· Spring cleaning of aeration basins is being done.

Water Utility
· Fluorosilicic Acid supply ran out April 30th; no longer adding fluoride to water system.
· Thursday night hydrant flushing began May 8th and runs through July.
· L-R Meter Testing & Repair is scheduled to begin meter testing May 27th.
· Crew is working on annual valve exercising and maintenance.

Planning and Projects
· Capital Improvement Plan
· CIP has been submitted to Ehlers for incorporation into a Long Range Financial Plan and Budget.
· Draft budget from Ehlers will be discussed at a future Committee meeting.

[bookmark: _GoBack]Other matters:  None

Set future meeting(s): 
The next Water & Sewer meeting was scheduled for June 10, 2025 at 8:30 a.m.

Motion by Meintz and seconded by Warren to adjourn at 8:57 a.m.  Motion carried 5/0.  



Kathy Kennedy
Deputy Clerk-Treasurer
